12

Very Late Thrombosis Of  An Undersized Bare-Metal Stent.

Konstantinos Triantafyllou, MD

Centre Hospitalier Saint Quentin, France
Correspondence to:
Konstantinos Triantafyllou, MD

Service de Cardiologie,

Centre Hospitalier Saint-Quentin,

1 Avenue Michel de l’ Hospital,

02100 Saint-Quentin, France.

e-mail : kontriad@gmail.com
Brief   title : BMS thrombosis 

Key words: very late stent thrombosis, stent undersizing, stent malapposition,   bare metal stent, optical coherence tomography.

Abbreviations:
LAD = left anterior descending 

D1 = first diagonal branch

BMS = bare-metal stent

OCT = optical coherence tomography

PCI = percutaneous coronary intervention
DES = drug-eluting stent
IVUS = intravascular ultrasound

Abstract
A 52-year-old gentleman was admitted with anterior non ST elevation myocardial infarction. He had a history of stenting of the left anterior descending (LAD) – first diagonal (D1) bifurcation with two bare-metal stents (BMS) according to the provisional T-technique ten years ago. He had been also submitted to a simple balloon  angioplasty  for  focal LAD in-stent restenosis 14 months ago.  The urgent coronary angiography  this  time  showed  a very late stent thrombosis  of the LAD BMS fortunately with preserved distal flow. He was initially treated successfully with aspiration thrombectomy combined to few days of aspirin, prasugrel and enoxaparin to enable complete thrombus dissolution.  Five days later the LAD stent was controlled with optical coherence tomography (OCT) which revealed severe malapposition proximally to the D1 due to initial BMS undersizing. The stent was expanded and a kissing-balloon inflation was performed at the LAD – D1 bifurcation with  appropriately sized balloons. Finally, after verifying the correct stent expansion and apposition by OCT,   a  drug-eluting balloon inflation was performed in-stent in order to minimize the risk of restenosis. The further clinical course was uneventful. Details and images concerning these procedures are presented and discussed herein.
Case report 
A 52-year-old male patient was admitted to our hospital after the diagnosis of non ST elevation myocardial infarction with electrocardiographic signs of ongoing anterior ischemia. He had a history of  non ST elevation  acute coronary syndrome 10  years ago treated by percutaneous coronary intervention (PCI) at the left anterior descending (LAD) – first diagonal (D1) bifurcation according to the provisional T-stenting technique with implantation of 2 bare - metal stents (BMS): a 2.75x12 mm Driver  in the LAD and a 2.5x8 mm Pixel in the D1  ostium.  Fourteen months earlier – about 9 years after the initial PCI and after a positive myocardial scintigraphy - he was  submitted  to a new PCI for focal LAD in- stent restenosis just distal to the D1 origin. A simple 3x9 balloon dilatation at 14 Atm gave an excellent angiographic result, but no intracoronary imaging was performed. He was treated with clopidogrel 75 mg/d on top of aspirin 75 mg/d for a month and he was on aspirin without interruption until his new admission for the actual acute coronary syndrome. Regarding his risk factors he had quit smoking at the time of his first coronary event 10 years ago and was under high-dose statin for dyslipidemia.
 Despite   treatment   at  admission  with  prasugrel 60 mg  loading dose, IV nitrates and heparin  angina and anterior wall ischemia persisted and thus an immediate coronary angiography was decided.  It  revealed  an  in-stent LAD heterogeneous lesion compatible with thrombus but fortunately with preserved TIMI III flow in the distal LAD (Image 1 A). The patient was treated with two runs of simple aspiration thrombectomy   with a good angiographic result (Image 1 B). Of note, chest pain and ischemia disappeared after the first thrombectomy run which retrieved small fragments of white thrombus. He was treated aggressively with aspirin, prasugrel and enoxaparin  in  order  to  enable thrombus dissolution and a new coronary procedure was  scheduled five days later with optical coherence tomography (OCT) guidance. 
The initial LAD stent was a 2.75 mm BMS dilated a year ago with a 3 mm balloon because of focal restenosis. With StentViz (a stent visualization enhancement technique) the stent proximal to D1 seemed undersized and somehow deformed (Image 2 A). At OCT imaging the stent distal to the diagonal was well apposed and all its struts well covered by intima, while good apposition was also noticed at the diagonal level with opening at the D1 ostium (Images 2 B and C). Further pullback revealed that the stent was spectacularly undersized proximal   to   D1,   which probably consisted the most important contributing factor  for the  very  late  BMS  thrombosis  (Images 2 D, E and F). The mean reference lumen diameter proximal to D1 and just proximal to the stent was measured at 3.62 mm (Image 3 A).  At   the  stent  malapposition  zone the minimal in-stent area was measured 6.35 mm2 while the minimal lumen area was 8.65 mm², creating a 2.30 mm2 area of malapposition due to undersizing (Image 3 B). 
In order to expand the proximal part of the stent PCI started by a balloon dilatation with a 4x8 mm non-compliant balloon  intra-stent but proximally to the D1 (at 16 Atm).  A kissing- balloon inflation at the bifurcation LAD - D1 followed with two non-compliant balloons (3.5x12 mm and 2.5x12 mm respectively, both at 12 Atm). The stent now seemed better expanded with StentViz (Image 4 A) and with OCT  good  expansion  without  malapposition was noted throughout its length (Image 4 B – F). Proximal to the D1 there was no malapposition with MLA at 9.3 mm2 and distal to the D1 the MLA was now at 7.3 mm2 from 4.5 mm2 before PCI (Image 5 A and B). After confirming the correct stent expansion a 4x15 mm SeQuent Please paclitaxel- eluting balloon (B.Braun Melsungen AG, Germany) was positioned   under StentViz  control  so  that it covered the LAD stent and slightly exceeded its proximal and distal edges  (Image 5 C). It was inflated at nominal pressure for 1 minute with a good final angiographic result (Image 5 D). Treatment with aspirin 75 mg/d  for  life  and  prasugrel 10 mg/d for a year was recommended and the clinical course thereafter was uneventful. 
Discussion
The case presented   is  one  of  a very late BMS  thrombosis (10 years after the initial implantation and 14 months after simple balloon angioplasty for focal in-stent restenosis) discovered by OCT to be probably due to stent undersizing and malapposition. Despite the fact that neointima was traumatized from the balloon angioplasty 14 months ago OCT before further balloon dilations did not show edge dissections, intimal prolapse, excessive neointimal thickness or neoatheroma with rupture or erosion that could otherwise explain the stent thrombosis. OCT guidance during PCI further helped to verify optimal stent expansion with appropriately sized balloons. Importantly, this imaging confirmation was sought before the final use of a drug-eluting balloon in order to ensure appropriate circumferential contact and drug delivery to the vessel wall   during its inflation. A drug-eluting stent (DES) was not implanted since the problem was not restenosis or neoatherosclerosis but seemingly just the initial BMS undersizing, while enough stent metal was already present at the bifurcation. 
Despite remaining an uncommon complication of PCI, when stent thrombosis occurs, it can be catastrophic, commonly presenting as acute myocardial infarction or sudden cardiac death. Very late stent thrombosis is a complication feared mainly after DES implantation even after  optimal  technique  and  uninterrupted  dual antiplatelet therapy. There are concerns regarding chronic inflammation related to the DES polymer and late acquired malapposition that could contribute to stent thrombosis.1  Late stent malapposition, despite being rare,   is more often met after DES compared with BMS implantation and associates with late stent thrombosis.


2, 3 ADDIN EN.CITE  The development of new DES technologies such as bioabsorbable polymers, polymer-free DES and fully bioabsorbable DES aims to solve these problems and eradicate stent thrombosis risk related to intrinsic DES properties.1
However, as   shown   in   this   case  the  stent  thrombosis  risk exists with any stent, especially in case of suboptimal   technique.  Concerning late and very late stent thrombosis   although   extremely   rare   with   BMS  it is apparently possible and has been reported up to 13 years after stenting.
 ADDIN EN.CITE 
4, 5
  It  has  been  shown  that  stent  undersizing  is the main technical problem of PCI related to stent thrombosis.
 ADDIN EN.CITE 
6
 Studies with intravascular ultrasound (IVUS) from the BMS era have  shown  that  94% of stent thrombosis cases  demonstrated at least one abnormal IVUS finding (stent under-expansion, malapposition, inflow/outflow disease, dissection, or thrombus), while angiography demonstrated an abnormality in only 32% of cases.7 
Currently OCT, which has 10 times better resolution compared to IVUS, is the gold standard for intravascular imaging and can guide decision making in PCI.
 ADDIN EN.CITE 
8, 9
 Studies with OCT have shown that beyond technical problems with stent implantation a second mechanism for stent thrombosis could also be in some cases the formation of neointima within the BMS that often transforms into lipid-laden tissue during an extended period of time with expansion of  neovascularization into the neointima that contributes to atherosclerotic progression.
 ADDIN EN.CITE 
10
  The neo-atherosclerotic tissue seems to form earlier after DES compared to BMS implantation and may rupture leading to acute coronary syndromes   for both BMS and DES.
 ADDIN EN.CITE 
11
 There has been however a recent report of DES very late thrombosis without evidence of uncovered struts or restenosis while the patient was on dual antiplatelet therapy.
 ADDIN EN.CITE 
12
 This suggests that despite we gradually gain insight into stent thrombosis mechanisms by the use of intravascular imaging techniques there is still research to be done in order to fully elucidate the secrets regarding the etiology of stent thrombosis.
Nevertheless, concerning our case the most important contributing factor seems to be initial stent undersizing and malapposition. Therefore it should be emphasized that meticulous PCI technique is important and in cases of uncertainty intracoronary imaging can give the information  needed  in order  to guide angioplasty and optimize stenting. As shown in this case suboptimal technique echoes even in the distal future as undersizing and malapposition can be responsible for very late not only DES but also BMS failure and thrombosis. 
Conflict of interest/financial support: none.
References

1.
Buchanan GL, Basavarajaiah S, Chieffo A. Stent thrombosis: incidence, predictors and new technologies. Thrombosis 2012:956962 (doi:10.1155/2012/956962).
2.
Ozaki Y, Okumura M, Ismail TF, et al. The fate of incomplete stent apposition with drug-eluting stents: an optical coherence tomography-based natural history study. Eur Heart J 2010;31:1470-1476.

3.
Hassan AK, Bergheanu SC, Stijnen T, et al. Late stent malapposition risk is higher after drug-eluting stent compared with bare-metal stent implantation and associates with late stent thrombosis. Eur Heart J 2009;31:1172-1180.

4.
Manjappa N, Agarwal A, Cavusoglu E. Very late bare-metal stent thrombosis. A case report and review of the literature. J Invasive Cardiol 2006;18:E203-206.

5.
Sarkees ML, Bavry AA, Galla JM, Bhatt DL. Bare metal stent thrombosis 13 years after implantation. Cardiovasc Revasc Med 2009;10:58-59.

6.
van Werkum JW, Heestermans AA, Zomer AC, et al. Predictors of coronary stent thrombosis: the Dutch Stent Thrombosis Registry. J Am Coll Cardiol 2009;53:1399-1409.

7.
Uren NG, Schwarzacher SP, Metz JA, et al. Predictors and outcomes of stent thrombosis: an intravascular ultrasound registry. Eur Heart J 2002;23:124-132.

8.
Imola F, Mallus MT, Ramazzotti V, et al. Safety and feasibility of frequency domain optical coherence tomography to guide decision making in percutaneous coronary intervention. EuroIntervention 2010;6:575-581.

9.
Kume T, Okura H, Miyamoto Y, et al. Natural history of stent edge dissection, tissue protrusion and incomplete stent apposition detectable only on optical coherence tomography after stent implantation - preliminary observation. Circ J 2012;76:698-703.

10.
Takano M, Yamamoto M, Inami S, et al. Appearance of lipid-laden intima and neovascularization after implantation of bare-metal stents extended late-phase observation by intracoronary optical coherence tomography. J Am Coll Cardiol 2009;55:26-32.

11.
Park SJ, Kang SJ, Virmani R, Nakano M, Ueda Y. In-stent neoatherosclerosis: a final common pathway of late stent failure. J Am Coll Cardiol 2012;59:2051-2057.

12.
Nishiguchi T, Kitabata H, Tanaka A, et al. Very late stent thrombosis after drug-eluting stent in segment with neointimal tissue coverage. JACC Cardiovasc Imaging 2010;3:445-446.



Image 1.  Urgent  PCI the day of admission.   A. Haziness compatible with  thrombus  at   the stent level in the LAD, mainly just proximal to the D1 origin. B. After aspiration thrombectomy haziness proximal to the D1 disappears.
[image: image1.png]



Image  2.   Second  coronary procedure, imaging before PCI.  A. With StentViz the stent proximal to the diagonal seems undersized and somehow deformed.  B. At OCT   distal to the diagonal the stent is well apposed and all its struts well covered by intima. C.  Good  apposition  and strut coverage  at the diagonal  level with opening at the diagonal ostium and guidewire shadows seen from 3 to 6 o’ clock. D, E and F. Spectacular stent undersizing and malapposition of the stent at consecutive frames and for approximately 2 mm in  length  proximally  to   D1. The malapposition extends from 7 to 12 o’ clock while the struts are covered by fibrin and some thrombus debris. 
[image: image2.png]



Image 3.  A. The mean reference diameter proximal to the diagonal and just proximal to the stent was measured at 3.62 mm .  Notice the high intensity line seen from 9 to 12 o’ clock which corresponds to macrophage infiltration that creates loss of signal and shadowing of deeper vessel wall tissues.  B. At this frame of  the  stent  malapposition  zone  the minimal in-stent area was measured 6.35 mm2 while the minimum lumen area was 8.65 mm², creating  a 2.30 mm2 area of malapposition due to undersizing.
[image: image3.png]AAres: 10.32mm? AR
NaanDametr 242mm e Dameter: 24mm
i 342, Mo J45mm i 27w o 2970,

Qetrcaed
e Dometer:332mm
e 3 dmn Mo 3520m




  
Image  4.  Second coronary procedure, OCT  after  kissing - balloon at the LAD – D1 bifurcation.  A. With StentViz the stent seems better expanded. B-F.  At corresponding frames compared to Image 2: the stent is better expanded distal to the bifurcation (B) and at the diagonal level (C) , while it is well expanded without malapposition  proximal to the bifurcation at  frames corresponding to the initial malapposition zone (D, E and F).
[image: image4.png]


  

Image  5.  OCT  after  kissing - balloon at the LAD – D1 bifurcation. A. Proximal to D1 there is no malapposition with minimal lumen area of  9.3  mm2  B. Distal to the diagonal the minimal lumen area is now  7.3 mm2 from 4.5 mm2 before PCI. C. Positioning of the 4x15 mm paclitaxel-eluting balloon under StentViz control so that it covers the LAD stent and slightly exceeds its proximal and distal edges. It was inflated at nominal pressure for 1 minute. D. Final angiographic result.
[image: image5.png]



